## DWG LIST
DWG LIST
PAGE | DWG TITLE | REMARKS
1 | #1BLR AUX STM & CONDENSATE
2 | #1BLR SCAH STM & CONDENSATE RETURN
3 | #2BLR AUX STM & CONDENSATE
4 | #2BLR SCAH STM & CONDENSATE RETURN
5 | #3BLR AUX STM & CONDENSATE
6 | #3BLR SCAH STM & CONDENSATE RETURN
7 | #4BLR AUX STM & CONDENSATE
8 | #4BLR DRUM 주변 LINE
9 | AUX CONDENSATE TK-A
10 | AUX CONDENSATE TK-B
11 | #1.2 BLR S/B DRN 회수 SYS
12 | H.O LINE HEAT TRACING CONDENSATE RETURN LINE (BLR AREA)
13 | H.O LINE HEAT TRACING CONDENSATE RETURN LINE (PIPE RACK)
14 | H.O P/P ROOM AUX STM & TRACING CONDENSATE RETURN LINE
15 | H.O TK AREA 각종 LINE
16 | #1.2.3 BLR EMERGENCY ATOMIZING STM LINE
17 | 8K,3K AUX STM HDR & LINE
18 | 8K AUX STM HDR & LINE
19 | 3K AUX STM HDR & LINE
20 | HP1A, HP1B AUX STM LINE
21 | LP EXT2 TO DEA STM LINE
22 | #1.2 BLR MAIN STM TO TBN LIVE STM LINE
23 | MAIN TBN STM JET AIR EJECTOR LINE
24 | LP1 HTR STM LINE
25 | PROCESS STM LINE
26 | 8K PROCESS STM LINE
27 | 18K PROCESS STM LINE
28 | 25K PROCESS STM LINE
29 | 62K PROCESS STM LINE
30 | LP(8K,18K,25K) SPRAY WTR LINE
31 | DEMI MAKE UP SYS ( TK & P/P AREA )
32 | DEMI MAKE UP SYS ( TBN AREA )
33 | MAIN CONDENSATE P/P
34 | MAIN CONDENSER HOTWELL LG & LT-1
35 | MAIN CONDENSER HOTWELL LG & LT-2
36 | MAIN CONDENSER AREA SEAL WTR LINE
37 | 농심 폐열회수 HTR-1
38 | 농심 폐열회수 HTR-2
39 | DEA & F/W TK STM & WTR LINE-1
40 | DEA & F/W TK STM & WTR LINE-2
41 | MAIN & AUX BFP MINI FLOW & BALANCE LEAK OFF LINE
42 | MAIN BLR F/W SYS
43 | AUX BLR F/W SYS
44 | HP(62K) SPRAY WTR LINE
45 | #1.2 BLR S/H SPRAY WTR LINE
46 | DEA VENT STM & TBN COLLECTING TK VENT STM 회수 SYS
47 | CBD LINE
48 | MAIN AIR COMP ROOM AIR LINE
49 | ASH AIR COMP ROOM AIR LINE
50 | INSTRUMENT AIR LINE (MAIN)
51 | INSTRUMENT AIR LINE ( DRYER )
52 | #4BLR AREA INSTRUMENT AIR & PLANT AIR LINE
53 | INSTRUMENT AIR LINE (#3BLR & T/G AREA)
54 | PLANT AIR LINE (T/G AREA)
55 | ASH AIR COMP LINE
DWG LIST
PAGE | DWG TITLE | REMARKS
56 | 탈질설비 AIR LINE
57 | CLG WTR SYS
58 | CLG WTR HEAD TK DETAIL
59 | #1.2 BLR GAH CLG WTR LINE
60 | #1BLR PAF & MILL CLG WTR LINE
61 | #2BLR PAF & MILL CLG WTR LINE
62 | CLG WTR 폐열회수 SYS LINE
63 | ATG MAIN STM LINE
64 | ATG 8K,18K LINE
65 | ATG TO 8K AUX STM HDR LINE-1,2
66 | PCV 5901 DETAIL
67 | ATG TO 3K AUX STM HDR LINE-1,2
68 | PCV 5902 DETAIL
69 | ATG CLG WTR SYS
70 | #1BLR H.O LINE
71 | #1BLR L.O LINE
72 | #2BLR H.O LINE
73 | #2BLR L.O LINE
74 | #3BLR H.O LINE
75 | #3BLR L.O LINE
76 | #4BLR H.O LINE
77 | #4BLR L.O LINE
78 | D/H HTR & UNIT HTR LINE
79 | #1.2 BLR , BFP, COMP & T/G AREA UNIT HTR LINE
80 | #3BLR AREA UNIT HTR LINE
81 | #4BLR AREA UNIT HTR LINE
82 | ATG AREA UNIT HTR LINE
83 | 관리동 UNIT HTR LINE(동절기)
84 | 관리동 UNIT HTR LINE(하절기)
85 | 흡수식 냉동기 냉수 LINE
86 | CC BLDG HOT WTR LINE
87 | MILL LUBE OIL LINE
88 | MILL SEAL AIR LINE-1
89 | MILL SEAL AIR LINE-2
90 | PSV EXHAUST PIPE LAY OUT
91 | FILTERED WTR SYS
92 | #1.2BLR GAH & EP WASHING WTR LINE
93 | #3.4BLR GAH & EP WASHING WTR LINE
94 | MAIN BFP LUBE OIL LINE
95 | MAIN BFP H/C LUBE OIL LINE
96 | AUX BFP LUBE OIL LINE
97 | CITY WTR SYS
98 | LP-2 HTR DRN & DEA DRN LINE
99 | BLR AREA SUMP P/P LINE
100 | T/G & H.O AREA SUMP P/P LINE
101 | FIRE FIGHTING WTR ( P/P ROOM )
102 | FIRE FIGHTING WTR ( 변압기 )
103
104
105
106
107
108
109
110
소내 SUMP LOCATION
GST LOCAL CONTROL PNL DWG
LP-212 LIGHTING PNL
LP-211 LIGHTING PNL
LP-303 LIGHTING PNL
6.9KV SWGR & 480V LOAD CENTER PNL